## Race Data Sheet
UK ATHLETICS
Race Data sheet
CERTIFICATE NUMBER……………………….
County where licence is issued
Overview
Race name | Brownlee Centre Festival of Running
Distance | 1 mile,5K,10K ,half marathon,20 miles.
Previous race name (if applicable)
Race date | 2019-03-09
Date measured | 2018-12-14
Measured by | Ken Kaiser
Contact Details
Promoting club/organisation | University of Leeds
UKA or ARC | UKA
EA Affiliation No:
Non Club or EA Event
Race website | https://racebest.com/races?month=201903
Name & Address of organiser | Patrick Craig Assistant Head of Sport (Development) Sport & Physical Activity University of Leeds Leeds LS2 9JT
Telephone | : 0113 3437541
Email | P.M.Craig@leeds.ac.uk
Course Location
Height of start above sea level (m) | 125
Height of finish above sea level (m) | 125
Grid reference for start
Distance between start & finish (m) | 0
Course Description
Terrain (Flat, Undulating, Hilly, Total Ascent, etc.) | undulating
Race surface (City streets, Country Lanes, Paths etc.) | tarmac cycle path
Course configuration (Single lap, Double lap, Point to Point, Out and Back) | Single lap
Measurement Details
The section of the road available to runners on race day (Full wdith; up to central white line; nearside lane of dual carriageway etc) | Full width
The line to be taken by runners e.g. at any right hand turns. Indicate on Map/Diagram if necessary | SPR
Any restricitions to be aware of.
Completion
Course Measurer's Signature
Date | 2018-12-14
UK ATHLETICS/ARC
Bicycle calibration data sheet
Overview
Date of calibration | 2018-12-14
Calibration Course Location | Manor House Lane
Length (km) | 0.45
Name of Measurer | Ken Kaiser
Method to determine calibration course length | Steel tape
Time of day | 8.00am
Temperature (°C) | 1°C
| Start | Finish | Difference
Ride 1 | 90000 | 95393 | 5393
Ride 2 | 95400 | 793 | 5393
Ride 3 | 800 | 6193 | 5393
Ride 4 | 6200 | 11593 | 5393
Average |  |  | 5393
Working Constant = Average pre-measurement count multiplied by the short course prevention factor.
% of course not on sealed surfaces (grass, gravel, mud paths etc) | 0%
Short Course Prevention Factor | 1.001
Working Constant - Counts per km | 11996.4289
Working Constant - Counts per mile | 19306.3809
Type of measurement - Certified Accurate/Registered distance/Multi Terrain | Certified Accurate
Post-measurement - Re-calibrate by riding the calibration course 4 times
Time of day | 12.15pm
Temperature (°C) | 2°C
| Start | Finish | Difference
Ride 1 | 94030 | 98224 | 4194
Ride 2 | 98230 | 2424 | 4194
Ride 3 | 2430 | 6625 | 4195
Ride 4 | 6630 | 10825 | 4195 | Length of Post measure calibration course
Average |  |  | 4194.5 | 0.35
Finish Constant - Counts per km | 11996.27
Finish Constant - Counts per mile | 19306.1251
Constant for the Day = Either the Working Constant or the Finish Constant whichever is the larger.
Constant for the Day - Counts per km | 11996.4289
Constant for the Day - Counts per mile | 19306.3809
In some circumstances the smaller constant may be acceptable. Give reasons below:
Remember, each day’s measurement must be preceded and followed by a calibration run. You may measure as much as you want in a day provided that calibration precedes and follows it within the same 24-hour period. This is done to minimise error due to changes in tyre pressure from thermal expansion or slow leakage. Frequent re-calibration protects the previous measurement.
Signed
Date | 2018-12-14
UK ATHLETICS/ARC
Original Course Measurement
Overview
Race name | Brownlee Centre Festival of Running
Date of measurement | 2018-12-14
Name of measurer | Ken Kaiser
Measurement Details
Start time | 10.00am
Temperature (°C) | 1°C
Finish time | 11.15am
Temperature (°C) | 2°C
Working Constant - Counts/km | 11996.4289
Working Constant - Counts/mile | 19306.3809
Count Details
Accumulative Distance | Counter Reading | Count Increment | Total Counts | Site Location
Maps and photos of relevant marks can be found at www.kenkaiser.co.uk
Ride 1 Start | 34440 | 0 | 0 | Start/finish of lap using permanent mark on cycle track
Ride 1 Finish | 53750 | 19310 | 19310
Ride 2 Start | 53750
Ride 2 finish | 73061 | 19311 | 19311 | I had intended doing 3 rides,but as these two were so close,I decided that another ride was not needed.
Constant for the day - Counts/km | 11996.4289
Constant for the day - Counts/mile | 19306.3809
If the constant for the day is greater than the working constant, calculate the difference:
Difference in counts/km | 0
Difference in counts/mile | 0
Course distance - m | 10000
Difference in counts over course | 0
Difference in m over course | 0
Include this difference in the final reported measurements for the start and finish line to ensure the course isn't short.